### RPA 2000

THE Competence Certification Schemes

### Certification as an Ionising Radiations Instrumentation Specialist (IRIS)

### Document IRIS2

### Instructions for the creation of the Portfolio of Evidence for Certification

### as an Ionising Radiations Instrumentation Specialist (IRIS)

1.	INTRODUCTION

This is a UK based Certification Scheme and, where appropriate, specifically refers to UK legislation, Good Practice Guides and associated guidance. Potential applicants from outside the UK should refer to Section 7.

All Portfolios of Evidence must observe these instructions, since no other construction of a portfolio is acceptable to RPA 2000. Portfolios that do not closely adhere to these instructions will be returned to applicants. The objective of these instructions is to create a portfolio through which the assessors can easily navigate and obtain the necessary information to enable them to reach a decision with regards to certification. Applicants should be very clear that the onus is on them to demonstrate competence, not on assessors to seek it out from a less than adequate portfolio.

You are required to provide sufficient evidence from education, training, knowledge and practical experience to meet the requirements of the scheme. Your portfolio of evidence should therefore contain details of your training and relevant examples of your work that together provide evidence to demonstrate your core competence to act as an Ionising Radiations Instrumentation Specialist (IRIS).

# 2.	Presentation of the portfolio

2.1	Construction

2.1.1	The preferred way to present the portfolio is to place the various items of evidence, suitably numbered and indexed, in an A4 ring folder.

2.1.2	It often proves helpful to separate the various sections of the portfolio using a simple system such as numbered, tabbed dividers.

# 2.2	Length

2.2.1	The exact length of the portfolio clearly depends on the amount and type of evidence being presented.  However, as a guide, portfolios fitting into a one inch ring folder have provided more than sufficient evidence to convince the assessors that the applicant should be awarded certification.

2.2.2	The emphasis should be on the quality of the evidence rather than its quantity.  Remember that the assessors will have to read carefully through each piece of evidence presented in the portfolio some two to three times.

2.2.3	In general, one ‘significant’ item of evidence should be supplied (and should normally be sufficient) to demonstrate any particular practical competence or topic requiring detailed understanding (DU). Where an applicant has doubts about the value of an item of evidence, it is acceptable to supply not more than 3 additional items of supporting evidence.

2.2.4	The term ‘significant’ is related to both the nature of the evidence and the ease with which an Assessor can judge the relevant competence of the Applicant from that evidence.

# 2.3 Navigation

2.3.1	Good navigation aids are essential, since aiding the assessors in their navigation through the portfolio is beneficial for all parties.

2.3.2	Essential items of evidence may be contained within a larger document to give context, in which case the relevant parts of the larger document should be clearly identified in Linking Notes attached to the item of evidence, or in the Contextual Note provided in the summary (see section 4).

2.3.3	The essential navigational elements of the portfolio are included in the list of portfolio contents that follows in section 4.

3.	portfolio content

Listed below are the necessary contents of the Portfolio.

- A comprehensive contents list, detailing and indexing all your items of evidence.

- A summary section, not exceeding 5-6 pages in length, in which each of the major items of your evidence is summarised into a short contextual paragraph that clearly identifies the competence(ies)/experience(s) that it supports.

- Cross Reference Table No. 1 (see Appendix 1), linking the relevant pieces of your evidence to the topics of the basic underpinning knowledge syllabus for Ionising Radiations Instrumentation Specialists. Included is a small table on which to list the relevant training courses that you have attended.

- Cross Reference Table No. 2 (also Appendix 1), linking the relevant pieces of your evidence of direct workplace experience required to demonstrate the detailed understanding elements.

- Cross Reference Table No. 3 (see Appendix 2), linking the relevant pieces of your evidence to the required practical competencies.

- All the documents that you are submitting as your items of evidence, the major ones having been summarised into a short contextual paragraph as described above.  In some cases there may be a longer Linking Note attached to an item of evidence that explains and expands on what is being demonstrated.

- Your Curriculum Vitae (CV).

- Authentication, by a Referee, that the contents truly reflect the extent and nature of your own work.

# 4. 	General Guidance

4.1	To determine the suitability of a potential piece of evidence, examine it and ask yourself ‘How does this evidence show that I have the basic knowledge/competence/experience’. This will help in deciding what material to include to ensure adequate coverage of all the requirements. Evidence can be generated specifically to demonstrate knowledge, understanding and competence.

4.2	Evidence must be from your own work, dated and predominantly taken from work carried out over the last five years.  Evidence of training and education may precede the five years where there is additional evidence that knowledge and skills have not been lost, for example by having been kept up to date through professional development and practical application. Also, some unique evidence of practical competency/experience may also precede the five years.  However applicants should note that the value of any evidence used for demonstrating current competence diminishes with time.

4.3	An item of evidence consisting of workplace documentation alone is unlikely to provide an adequate demonstration of performance. It will usually need some Linking Notes written by you, which will explain the intellectual process you went through at the time and perhaps the background and details of the situation involved. Include details of numerical calculations, logical reasoning behind decisions and reference to type test data, where appropriate.

4.4	Items of evidence that include contributions by other people should be annotated to clearly show the extent of your contribution to the work and your relationship to the others (e.g. if you are the Department Head).

4.5	The portfolio must be authenticated by a suitable Referee, who has agreed that the contents truly reflect the extent and nature of your own work.

4.6	Where the portfolio covers work for more than one client, (e.g. consultancy), then the separate parts could be authenticated by different people, as appropriate.

# 5.	basic underpinning knowledge for Ionising Radiation instrumentation specialists (see Appendix 1)

5.1	The basic underpinning knowledge syllabus (see Appendix 1) specifies the topics of the underpinning knowledge and also the depth of knowledge required for each topic of the syllabus, namely: GA (general awareness), BU (basic understanding) and Detailed Understanding (DU).

5.2	Sufficient evidence must be provided, and recorded on Cross Reference Table No.1, to demonstrate that each topic of the basic syllabus has been covered, to the required depth of knowledge, either:

- in the applicant’s degree, postgraduate study, professional training courses, certificated study or other local training events; and/or

- as part of the applicant’s work experience. This evidence should be in the form of a resume of the applicant’s work history and should detail the positions held and relevant work experience, clearly highlighting those aspects that demonstrate the necessary knowledge for each relevant topic.

5.3	Course outlines, syllabus information, meeting programmes attended or similar items would usually suffice for the evidence in those areas where general awareness or basic understanding is required, provided the evidence is sufficient to demonstrate the necessary knowledge.

5.4	Information should be provided as to whether or not performance on the training course(s) was formally assessed. If it was, a brief description of the method(s) of assessment should be provided together with the result(s) achieved by the applicant (see section A1.3 in Appendix 1).

5.5	In addition to course based and workplace acquired knowledge, evidence of the applicant’s direct workplace experience is required in support of the seven topics of the basic syllabus for which the required depth of knowledge is DU. Such evidence would be expected to be provided in the form of a written piece of work to supplement evidence of these areas having been covered in training courses or similar. This evidence must be recorded on Cross Reference Table No.2. Guidance to assist applicants in providing such evidence is as follow:

- The applicant is expected to provide personal documentation that demonstrates how the topic for which evidence is being submitted relates to various types of instrumentation. An example of this could include training material, either written or delivered by the candidate.

- A piece of work written solely for inclusion within this portfolio could be submitted, however such a piece of work must only be used when the applicant’s workplace has not yet provided an opportunity to demonstrate the competency. In all cases, the reason for submitting this type of evidence must be fully explained and the work must be based on the Applicant’s own experience.

5.6	The tables in Appendices 1 & 2 have been specifically designed to identify all the evidence that the applicant needs to supply and to provide a convenient format for:

- the applicant to provide the evidence;

- the assessors to record the outcome of the assessment; and

- RPA2000 to automatically request further evidence, where judged necessary.

6.	DEMONSTRATION OF DETAILED PRACTICAL COMPETENCE (see Appendix 2)

6.1.	Applicants must provide evidence to demonstrate detailed practical competence in two areas of instrumentation work, namely:

- Setting up instruments.

- Advising relevant persons (eg. the employer, the Radiation Protection Adviser).

6.2.	Guidance to assist applicants in providing evidence in support of the two detailed practical competencies is as follows:

- Items of evidence might include operating data, operational procedures or documentation produced in the workplace, reports, minutes or notes on meetings, e-mails, objectives/goals achieved, details of work on special projects, photographs, plans, drawings, etc.

- All items of evidence must be produced from work performed by the candidate as part of their work related activities.

- As a general principle, and where appropriate, it is acceptable for one significant item of evidence to be used to demonstrate more than one competence. If doing so, the applicant must be careful to maintain clarity in the presentation of the evidence.

7.	APPLICANTS FROM OUTSIDE THE UK

7.1	Any person may apply for a Specialist Certificate in Ionising Radiation Instrumentation, irrespective of where they live or work. However, all evidence submitted must be in English.  A translation from an original document is acceptable.

7.2	Where the certification requirements specifically relate to UK legislation, Good Practice Guides and associated guidance, an applicant from outside the UK should demonstrate equivalent knowledge and practical competence in relation to equivalent standards in their own country. It may be necessary to provide supporting detail to demonstrate the appropriateness of the standards applied.

7.3	Such persons must demonstrate the ability to give adequate advice to duty holders, employers and person responsible for radiation protection advice.

8.	THE ASSESSMENT PROCESS

8.1	The full assessment process is described elsewhere in RPA2000 Operating Procedures. Of relevance to the portfolio assessment is that:

- the full portfolio is sent to the lead assessor; and

- the summary section is sent to the two supporting assessors.

8.2	The supporting assessors can ask to see the full portfolio, or the lead assessor can send the full portfolio to another (or both) assessor(s) for a second opinion. Most often, the lead assessor reaches a conclusion and puts this to the supporting assessors for their confirmation.

8.3	It is possible that Assessors may wish to interview Applicants in borderline cases.

#### Professor Peter Sharp

#### Chairman

#### RPA 2000

#### 21 February 2011.

#### Appendix 1 – Basic Underpinning Knowledge Syllabus for

Ionising Radiation Instrumentation Specialists

#### Cross Reference Tables Nos. 1 and 2

A1.1	Introduction

The levels of the depth of knowledge are defined as follows:

| Depth of knowledge | Definition |
| --- | --- |
| GA | General Awareness. Knows that the topic exists and aware of its significance to work activities in context. Also knows how and where to obtain help on the topic if needed. |
| BU | Basic Understanding. Has a basic understanding of the topic with a level of detail that allows the IRIS to apply it to familiar work activities in context. If necessary, can research further knowledge using readily available sources and apply it in less familiar circumstances. |
| DU | Detailed Understanding. Has a good understanding of the topic and the underlying principles and can apply the knowledge in appropriate contexts. Can apply the knowledge working from basic principles to deal with instrumentation and monitoring issues in new or unfamiliar areas and can identify issues arising from its application. |

#### NOTE that DU is interpreted as a more significant requirement than having just studied this topic on an examined training course. Consequently, in Cross Reference Table 2 (Section A1.7, below), the applicant is required to provide additional evidence in support of the seven DU topic areas to demonstrate direct workplace experience of the application of the topic material.

#### A1.2	Instructions for completion of Cross Reference Table No. 1

1.	For each topic of the Basic Syllabus, provide suitable evidence to demonstrate that you have the necessary knowledge at the appropriate depth.

2.	In the ‘evidence’ column of the Table, provide a clear cross-reference to the relevant item(s) of your portfolio evidence, possibly using information from a course provider who may be able to

directly relate the course syllabus to the Basic Syllabus for IRIS.

3.	Leave the ‘assessment’ columns blank, for use by the assessor.

4.	If this Table is subsequently returned to you, it means that you are deemed to have provided insufficient (or unsuitable) evidence in respect of one or more of the topics of the basic syllabus. Please then provide additional evidence for each of the topics for which your initial evidence has been deemed to be insufficient.

A1.3	Training courses attended

Use the following table to list the training course(s) that you attended to cover the knowledge required by the Basic Syllabus, and please also specify:

- whether or not your performance was formally assessed;

- if so, the method of assessment (brief description only); and

- the result that you achieved.

| Title of course | Date attended | Whether assessed? | Method of assessment | The result you achieved |
| --- | --- | --- | --- | --- |
|  |  | Yes/No |  |  |
|  |  | Yes/No |  |  |
|  |  | Yes/No |  |  |
|  |  | Yes/No |  |  |

A1.4	CROSS REFERENCE TABLE No.1

Basic Underpinning Knowledge Syllabus for Ionising Radiation Instrumentation Specialists

| Areas | Level required | Evidence reference | Assessment |
| --- | --- | --- | --- |
|  |  |  | Sufficient | Insufficient |
| Basic atomic and nuclear physics | BU |  |  |  |
| Interaction of radiation with matter | BU |  |  |  |
| Practical radiation fields: Spectra emitted from various source types Change in energy of scattered radiation Change in energy of attenuated radiation Generation of Bremsstrahlung radiation P factor for contamination | BU |  |  |  |
| International guidance requirements: ISO 4037 Others relevant to work area | GA GA |  |  |  |
| Statutory requirements: IRR99 regulation 19 or current regulation dealing with the selection use, maintenance or testing of Radiation instrumentation | DU |  |  |  |
| UK guidance: Relevant current NPL Good Practice guides eg. Good Practice Guide 29 - The Examination, Testing and Calibration of Installed Radiological Protection Instrumentation | DU |  |  |  |
| Quantities and Units: Primary Physical quantities Limit quantities Operational quantities Activity (per unit area, per unit volume, per unit mass) | DU |  |  |  |
| Principles of operation: Ion chambers Proportional counters GM detectors Scintillators Solid state detectors | DU |  |  |  |
| Detection and measurement Monitoring methods: Uncertainties Limits of Detection Averaging techniques Response times Statistical fluctuations | DU |  |  |  |
| Signal processing and display | BU |  |  |  |
| Power supplies: Batteries Mains supplies Internal instrument supplies generating high voltages | BU |  |  |  |
| Calibration facilities: Traceability to National standards Types of facility and their essential attributes: Gamma dose rate X-ray Beta dose rate Neutron dose rate Surface contamination [* See Cross-Reference Table No.2, DU topic area No.6.] | DU BU/DU* |  |  |  |
| Typical instrument problems: Light leaks Punctured detectors Failed scintillators Battery contacts Cable damage Damaged meters and displays | DU |  |  |  |
| Understanding the effect the environment can have for both calibration and routine operation Temperature Pressure Humidity Radon EMC Vibration and impact Bright light Magnetic fields Pulsed fields | BU |  |  |  |
| Record keeping (certificates, sources etc) | GA |  |  |  |
| Quality control/ auditing | GA |  |  |  |
| Transport of radioactive materials | GA |  |  |  |

A1.5.	Additional Evidence (direct workplace experience) required to demonstrate competence in the seven basic syllabus topics areas for which Detailed Understanding is the specified depth of knowledge

#### The applicant is reminded that the DU level of understanding is defined as ‘Has a good understanding of the topic and the underlying principles and can apply the knowledge in appropriate contexts. Can apply the knowledge working from basic principles to deal with instrumentation and monitoring issues in new or unfamiliar areas and can identify issues arising from its application’. Furthermore, DU is interpreted as a more significant requirement than having just studied this topic on an examined training course. Consequently, in Cross Reference Table 2 (Section A1.7, below), the applicant is required to provide additional evidence in support of the seven DU topic areas to demonstrate direct workplace experience of the application of the topic material.

A1.6.	Instructions for completion of Cross Reference Table No.2

- For each of the seven DU topic areas in Cross Reference Table 2 provide suitable evidence to demonstrate direct workplace experience of the application of the topic material.

- The ‘Advisory and additional notes for the applicant’ provide a clearly defined route as to specific evidence situations that are likely to demonstrate competence to the assessors. RPA 2000 hopes that most applicants will follow this defined route although applicants are free to submit whatever evidence they deem to be most appropriate to demonstrate their competence. Sections are provided within the Table for applicants to record this additional/alternative evidence.

- In the ‘Evidence reference’ column of the Table, provide a clear cross-reference to the relevant item(s) of your portfolio evidence

- Leave the ‘Assessor Decision’ column blank, for use by the assessor.

- If this Table is subsequently returned to you, it means that you are deemed to have provided insufficient (or unsuitable) evidence in respect of one or more of the chosen competencies. Please then provide additional evidence for each of the competencies for which your initial evidence has been deemed to be insufficient.

# A1.7.	CROSS REFERENCE TABLE No. 2

| DU topic area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 1. Statutory requirements: IRR99 regulation 19 or current regulation dealing with the selection use, maintenance or testing of Radiation instrumentation. | Fully conversant with IRR 99 reg 19 and the relevant parts of the ACOP and guidance. |  |  | Demonstrate an understanding of the roles and responsibilities of the employer, RPA and QP as detailed in IRR 99. Demonstrate an understanding of the regulations regarding the testing and calibration of ionising radiation instrumentation. |
| 2. UK guidance: Relevant current NPL Good Practice guides eg. Good Practice Guide 29 - The Examination, Testing and Calibration of Installed Radiological Protection Instrumentation. | Demonstrate understanding of relevant Good Practice Guides and HSE guidance from the Ionising Radiation Protection Series. |  |  | Demonstrate an understanding of the contents of Good Practice Guides(GPG) relevant to your area of work and detail how the guidance is implemented. For example define a test plan that satisfies the requirements of a GPG. State which GPGs are relevant to your work area and why. |
| 3. Quantities and Units: Primary Physical quantities. Limit quantities Operational quantities. Activity (per unit area, per unit volume, per unit mass). | Knowledge of: Fluence, air kerma, absorbed dose, ambient, directional, personal and effective dose equivalents. Activity, activity per unit area, activity per unit volume and activity per unit mass. |  |  | Demonstrate an understanding of all listed quantities and describe how they are derived. Also describe which quantity is the most appropriate for making a measurement for a variety of radiations and situations. |

| DU topic area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 4. Principles of operation: Ion chambers. Proportional counters. GM detectors. Scintillators. Solid state detectors. | Detailed Understanding of: 4.1 Ion chambers. 4.2 Proportional counters. 4.3 GM detectors. 4.4 Scintillators. 4.5 Solid state detectors. |  |  | Ion chambers likely to include: Current generating mechanism, including recombination, relationship between physical construction materials and the relevant measurement quantities. Effect of volume of the chamber and the typical currents generated. Insulator requirements. Why temperature and pressure affect the indication. Why suitable for pulsed fields. Proportional counters likely to include: Basic physics of the device, including the electric field and why the output is proportional. Why the different types are shaped as they are. The effect of gas quality and the properties of different types. The relationship between gain and the HV. Consideration of gamma dose rate types. Proportional counters in neutron detectors considering gas filling, mechanisms, gamma rejection, energy dependence and the use of moderators. GM detectors likely to include: Basic physics of the device, including the electric field how the discharge is spread including reference to fill gases, quencher and detector pressure. Typical construction materials. What happens at high count rates and why some GM’s fail to danger. Why an uncompensated GM has the observed photon dose rate response and how compensation filters work for both steel walled and end window types. Scintillation detectors likely to include: Method of operation e.g. how the light is generated. What makes a scintillant more appropriate for a particular application? Common scintillant materials. How a photomultiplier works and the affect of a magnetic field. What happens if the detector has a light leak. |
|  |  |  |  | Solid state detectors are likely to include: The concept of a diode and the depletion layer. Magnitude of charge collection and comparison to gas filled detectors. Use in spectrometry, swab counters, alpha in air monitors and personal dosemeters. |

| DU topic area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 5. Detection and Measurement Monitoring methods. | A detailed understanding of : 5.1 The limitations associated with different instruments; and 5.2 The associated monitoring techniques that can be utilised in order to mitigate for any less desirable instrument characteristics. |  |  | Provide one or more items of written work to demonstrate a detailed understanding of the limitations concerned with making a measurement using ionising radiation instrumentation. Your evidence is likely to consider at least some of the following: Determining the average indication and describing the technique used, including consideration of statistical independent readings, the response time of the instrument, its averaging time and the influence of detector sensitivity and the magnitude of the dose rate or level of contamination being measured. Statistical dependence on the number of counts collected. Speed of monitoring. Limits of detection. Maximum missable activity. Minimum detectable activity. Narrow beams or hot spots. Averaging area, scattered radiations. |

| DU topic area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 6. Calibration facilities: Traceability to National standards Types of facility# and their essential attributes: Gamma dose rate X-ray Beta dose rate Neutron dose rate Surface contamination # A Detailed Understanding of at least one type of calibration facility is required. This should be described in detail. | A thorough understanding of: 6.1 Traceability. 6.2 Levels of uncertainty associated with the establishment of the calibration reference field. 6.3 How this relates to the final instrument response figure derived. 6.4 Essential attributes of at least one type of calibration facility. |  |  | Provide one or more items of written work to demonstrate a detailed understanding of calibration facilities. Your evidence should include the following: Understanding of how to demonstrate an unbroken chain of calibration to show traceability to National Standards. Assessment of uncertainty budget relating calibration field uncertainty to National standards. This may include contributions from: Transfer standard. Room Scatter. Set up distance. Temperature. Pressure. Followed by assessment of uncertainty in final response figure calculated for instrument under test / use in the field for a number of different types of instruments. This may include contributions from: True dose rate. Monitor reading. Background reading. Parallax. Beam non-uniformity. State the type of calibration facility for which understanding is detailed. ie. Gamma, X-ray, contamination. Discuss the relevant essential attributes, for example: Production of known field. Collimation. Scatter. Build-up. Positioning. Uniformity. |

| DU topic area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 7. Typical Instrument problems | The sound ability to: 7.1 Identify common modes of failure; and 7.2 Describe the effect that the failure has on the use of the instrument. 7.3 Define the required scope of test after repair. |  |  | Provide one or more items of written work to demonstrate a detailed understanding of typical instrument problems. Your evidence is likely to consider at least some of the following: Light leaks. Punctured detectors. Aged or damaged scintillators. Battery failure/contacts. Cable damage. Damaged meters and displays. User maladjustment. Detail how the following repairs are likely to impact on an instrument’s response and what are the minimum tests that should be performed in order to assess this. Re-foiling of a scintillator. Replacement of a GM detector. Replacement of a PM tube. Replacement of cables. |

Appendix 2 – Evidence to demonstrate Practical Competencies

Cross Reference Table No. 3

A2.1	Instructions for completion of Cross Reference Table No.3

- For each of the two areas of instrumentation work specified, applicants must provide evidence in Cross Reference Table 3 to demonstrate detailed practical competence.

- The column headed ‘Advisory and additional notes for the applicant’ provides a clearly defined route as to specific evidence situations that are likely to demonstrate competence to the assessors. RPA 2000 hopes that most applicants will follow this defined route although applicants are free to submit whatever evidence they deem to be most appropriate to demonstrate their competence. Sections are provided within the Table for applicants to record this additional/alternative evidence.

- In the ‘Evidence reference’ column of the Table, provide a clear cross-reference to the relevant item(s) of your portfolio evidence

- Leave the ‘Assessor Decision’ column blank, for use by the assessor.

- If this Table is subsequently returned to you, it means that you are deemed to have provided insufficient (or unsuitable) evidence in respect of one or more of the chosen competencies. Please then provide additional evidence for each of the competencies for which your initial evidence has been deemed to be insufficient.

# A2.2	Cross Reference Table No. 3

| Extended description of the Practical Competence area | Elements of the competence required of an IRIS | Evidence reference | Assessor Decision | Advisory and additional notes for the applicant |
| --- | --- | --- | --- | --- |
| 1. Setting up instruments Energy thresholds HT Dead time Overload current Averaging times Alarms | Understanding the principles of setting up a range of instrument types. |  |  | Provide one or more items of suitable evidence from your work to demonstrate competence. Competence is likely to be demonstrated if your evidence addresses a number of the following situations: (a) Setting of appropriate energy thresholds dependant on detector and proposed use. (b) Establishment of appropriate HT setting according to type of detector and proposed use. (c) Evaluation and application of detector dead time. (d) Setting appropriate overload current. (e) Setting appropriate integration time or time constant. (f) Setting appropriate alarm levels. |
| 2. Advising the employer Advise on instrument selection Clear account of why an instrument has failed Advise on the implications of failure if the instrument was used Explanation of varying indications from different types of instrumentation | Comprehensive advice on appropriate instrument selection |  |  | Provide one or more items of suitable evidence from your work to demonstrate competence. Competence is likely to be demonstrated if your evidence addresses the following situations: (a) Practical interpretation of type test data to demonstrate that the instrumentation is radiologically fit for purpose. (b) Consideration of non-radiological issues such as: Maintenance costs and availability of spares (Batteries, foils etc). Suitability for the environment (Robustness, EMC, weather etc). Ergonomically suitable for the user (Clarity of display, Weight, single or dual handed etc). (c) An example(s) of the practical provision of such advice. |

# Text boxes

#### Table of contents

1.	Introduction

2.	Presentation of the portfolio

2.1	Construction.

2.2	Length.

2.3	Navigation.

3.	Portfolio content

4.	General guidance

5.	Basic underpinning knowledge

6.	Demonstration of detailed practical competencies

- Applicants from outside the UK

- The assessment process

Appendix 1	Basic under-pinning knowledge 								Cross Reference Table No.1 and Cross Reference Table No.2

Appendix 2	Evidence to demonstrate detailed practical competencies

Cross Reference Table No.3